## Slide 1: Creating Calibrations

## Slide 11: Apply Calibrations

## Slide 13
Choose Unmixing/Calibration Type
Show/Hide Individual Calibrations
Show/Hide Old Calibrations
Export Residual Parameters
Export Predicted Parameters

## Slide 14
Select Calibration Group
Select Individual Calibration
View Calibration Regression Results or Spectra
Add Selected Calibrations/Groups

## Slide 15
Raw Parameters Already in the Data File
Calibrated Parameters that will be Exported in New Files
Clear Calibrations and Calibrated Parameters
Calibrate the Data and Export New Files

## Slide 16: Spectra View

## Slide 17: CytoFlex Nano – Predicted Spectra
Predicted spectra according to an unmixing model
Individual Unmixed parameters converted back to raw
Note: CytoFLEX Nano has limited detectors which impacts unmixing

## Slide 18: Cytek Aurora 5L – Predicted Spectra
Predicted spectra according to an unmixing model
Individual Unmixed parameters converted back to raw
Note: Autofluorescence unaccounted for